## Worksheet 1
No. | Element | Description | Controlled vocabularies
1 | Variable abbre- viation in the data file | The corresponding column header abbreviation of the variable in the data files, e.g., T, S, DIC, DO | Jiang et al. (2022): https://doi.org/10.3389/fmars.2021.705638
2 | Full variable name | Long name of the variable, e.g., water temperature, salinity, total dissolved inorganic carbon content, dissolved oxygen content | Table 1 in Jiang et al. (2015): https://doi.org/10.5194/essd-7-117-2015.
3 | Variable unit | Units of the variable, e.g., degrees Celsius, µmol kg−1 | NA
4 | Observation type | How the variable was observed, e.g., surface underway, profile, time series, model output. For experimental data, this could be laboratory experiments, pelagic mesocosms, benthic mesocosms, natural analogues, etc. See Table 4 for a list of controlled vocabularies for this element. | Table 4
5 | Discrete or continuous | Whether the reported results are based on discrete-bottled measurements or continuous sensor measurements. | Discrete vs. continuous
6 | In situ or manipulated | Whether the variable reported is from an in situ observation, or from a manipulated experiment. | In situ vs. manipulated
7 | Manipulation method | How the seawater chemistry is manipulated (e.g., bubbling CO2 to make it more acidic, or adding solid substances to increase its alkalinity) | NA
8 | Measured or calculated | Whether the variable is measured in situ, or calculated from other variables. For example, salinity calculated from chlorinity is not a calculated variable, but pH calculated from DIC and TA is. | Measured vs. calculated
9 | Calculation method and parameters | Information about how the variable was calculated, e.g., using a MATLAB version of the CO2SYS with the dissociation constants of Lueker et al. (2000) for carbonic acid. | NA
10 | Sampling instrument | Instrument that is used to collect water samples, or deploy sensors, etc. For example, a Niskin bottle, pump, or CTD is a sampling instrument. See Table 8 for a list of controlled vocabularies for this element. | Table 8
11 | Sampling method | Additional information describing how the sample was collected, including more details of the instrument (e.g., the make, model, resolution, precisions). | NA
12 | Analyzing instrument | Instrument that is used to analyze the water samples collected with the “sampling instrument”, or the sensors that are mounted on the “sampling instrument” to measure the water body continuously. For example, a coulometer, winkler titrator, spectrophotometer, pH meter, thermosalinograph, oxygen sensor, YSI Multiparameter Meter is an analyzing instrument. See Table 8 for a list of controlled vocabularies for this element. | Table 8
13 | Analyzing method | Additional information describing how the sample was analyzed, including more details of the instrument (e.g., the make, model, resolution, precisions). | NA
14 | Calibration info | Information about how and when the sensor was calibrated (ISO 8601 format: yyyy-mm-dd). | NA
15 | Field replica- tion info | Repetition of sample collection and measurement, e.g., triplicate samples. | NA
16 | QC steps taken | What QC steps have been taken to improve the quality of the data. | NA
17 | Uncertainty | Uncertainty of the results (e.g., 1 %, 2 µmol kg−1), or a description of the uncertainties involved in this method. | NA
18 | Weather quality or climate quality | The climate quality objective requires that a change in the dissolved carbonate ion concentration to be estimated at a particular site with a relative standard uncertainty of 1 %. The carbonate ion concentration is calculated from two of the four carbonate system parameters and implies an uncertainty of approximately 0.003 in pH; of 2 µmol kg−1 in measurements of TA and DIC; and a relative uncertainty of about 0.5 % in the pCO2. The weather objective requires the carbonate ion concentration (used to calculate saturation state) to have a relative standard uncertainty of 10 %. This implies an uncertainty of approximately 0.02 in pH; of 10 µmol kg−1 in measurements of TA and DIC; and a relative uncertainty of about 2.5 % in pCO2. Newton et al. (2015). | Weather vs. Climate
19 | QC flag scheme | Describe what the quality control flags stand for, e.g., 1 = not evaluated/quality unknown, 2 = good value, 3 = questionable value, 4 = bad value. | NA
20 | Biological subject | For biological variables, please state the taxonomy (a taxon or a community), upon which the variable is studied. For example, if you study the growth rate of a certain species of salmon. The “variable/parameter” is growth rate, and “Biological subject” is that species of salmon. You could group/capture organismal data in three forms: taxonomic, functional, and phylogenetic. | Catalogue of Life (COL): https://www.catalogueoflife.org/, Integrated Taxonomic Information System (or IT IS): https://www.itis.gov/index.html, World Register of Marine Species (or WoRMS): http://marinespecies.org/, or Paleobiology Database (PBDB): https://paleobiodb.org/classic/
21 | Species ID | A persistent, unique code as an identifier for a taxonomic entry. For example AphiaID in WoRMS, or the Taxonomic Serial Number (TSN) in ITIS. | See above
22 | Life stage | Organisms often go through several distinct stages during their development. This can be any stages like egg, embryo, larva, juvenile, and adult. | SeaDataNet development stage: https://vocab.nerc.ac.uk/collection/S11/current/
23 | Other detailed information | Other detailed information about how the variable was collected and measured. | NA
24 | Method reference | Citation for the method. It is recommended to use https://www.citationmachine.net to generate the citation. | NA
25 | Researcher who measured this variable | The name and affiliation of the investigator responsible for measuring this variable. | ORCID: https://orcid.org/.