## Worksheet 1
| Bottle samples | Underway systems | In situ sensors | Remote sensing
Pros | Very high precision or accuracy | High frequency | Very high frequency | Wide spatial coverage
| Well standardized | Well standardized | Can profile | High spatial resolution
| Large range of potential parameters | Real-time data | Integration on a range of platforms
Optical measurements possible
Cons | Need for poisoning | Surface only | Lower precision or accuracy | Limited temporal resolution
| Requires shore-side lab | Need vessel and pumped water | Sensor drift | Must be ground-truthed
| Transport or shipping costs | Can foul or clog | Integration can be challenging | Surface only
| Lowest temporal resolution | Limited parameters available | Limited parameters available | Only optical measurements