## Worksheet
Measured Parameters
Parameter | Unit | Range | Accuracy/
Sensitivity
Pressure (P) | Pa | to ∼ 6 022 000 | ±0.1 %
Temperature (T) | °C | −5 to +45 | ±0.002
Conductivity (Cond) | S m−1 | 0 to 7 | ±0.0003
Turbidity (turb) | NTU | 0.01 to 25 | 0.01
Chlorophyll a (chl a) | µg L−1 | 0.01 to 50 | 0.025